Roof repair timeline.

- March 23 (Saturday):   noticed tiny leak in hallway.  Immediately went to cover roof in offending area by Sun Tunnel right away.  Source was addressed

  - Investigated attic and looked at scope of issue.  Was near sun tunnel, surrounding small area a few tiny areas of penetration.  Also by vent which is beside that solar tube.

  - Amount of water was tiny.  Was caught very quickly no drywall damage visible just a little bit of water

- March 24 (Sunday):  Filled in BCAA online form about leak

- March 25 (Monday):  talked to David Buxton

  - He arranged KCC Disaster restoration (BCAA adjuster) and Vintage roofing to come Monday. Done till then.

  - KCC Disaster advised would be able to cover drying out of water of drywall to setup fans, could repaint hallways and replace wet insulation in attic

  - Removed a bunch of wet insulation. Disposed of it.

  - KCC disaster advised them I would listen to roof report before making any decisions

  - Spoke again to David.  I talked about what KCC said they could do.  I said I would wait for a report.

  - Mark@vintage roofing came.  He advised repair is not sufficient a new roof would be required.

    - Gave me a quote for full job 18500 including tax.  New roof etc.  including soffits, 3/8 inch plywood, etc.

  - Rented fan from homedepot.  Removed light in hallway made a air tube into ceiling at that area where the leak was to dry it out.  Was totally dry after 24 hours.

- March 26 (Tuesday):

  - Gave David an update.  I said I would also get a quote for dealing with insulation to replace it.

  - Attic insulation quote – knights insulation to come Thursday 8am.

  - Agreed to get roof replaced by vintage roofing 18500 including tax.  + extra 500 to redo my flashing on my fireplace (unrelated)

  - Noticed quote from Vintage for all my soffits only quoted 60 feet, but area around my house is more like 200 feet.  I said that wasn’t enough.  He said it would be ok they will use 3 rolls if necessary.

  - Texted Mark to confirm time.  He was telling me to start removal of old roof after 1st week of April.  I said I would be out of town april7-11th wanting to confirm a start that would work.

  - Talked to David again.  He said KCC estimated work about 1500-2000 which is similar to the amount.  Options

    - He can cover that or withdrawal claim

    - Keep track of costs though for 2 years can go through insurance.

- March 27

  - Call with mark on timeline.   Will remove old roof April8-10th and finish project by end of month.

- March 28

  - Knights insulation

# 2025-December issues

Didn’t change ceiling drywall.  Noticing black mould now.  Also installed

- "Non-Compliant Installation": State that the contractor installed SV-50 vents against manufacturer specifications (QAI Listing B1024-2).

- "Increase in Vulnerability": Emphasize that you have 12 holes in your roof deck that are prone to water "scooping" and are not supported by a manufacturer's warranty.

- "Lack of Disclosure": Mention that the roofer admitted knowing about these restrictions but failed to inform you at the time of the quote, preventing you from choosing the safer (stucco soffit) alternative.

- "resulting damage" of a ventilation system that is physically imbalanced.

- The Faulty Workmanship Link: Because the 12 SV-50 vents were installed in a way that the manufacturer explicitly prohibits —and the roofer admitted to knowing this —the moisture damage is a direct result of a non-compliant installation by a BCAA-recommended vendor.

### 2. Is this Work "Insurable"?

Insurance typically excludes "gradual seepage" or "condensation," which is what a "vacuum effect" usually creates. However, you have two strong levers to make this insurable:

- The Recommended Vendor Failure: BCAA has a professional responsibility for the quality of the vendors they refer. If their referral installed 12 "unauthorized" holes that are now causing moisture issues, BCAA may have to treat this as a professional liability or workmanship claim.

- The "Scooping" Risk: If any of that moisture is coming from rain/snow being "scooped" into those low-mounted SV-50s, that is an entry of water through the building envelope, which is often a covered peril.

Submitted claim via phone and website Dec 24, 2025

### Your claim has been received and is now being processed.

Your claim number is # 25-657941

- A confirmation message has been sent to your email address.

- You may print this page for your records.

We will contact you within one business day.

You may wish to review your policy wording booklet if you have any questions about your coverage.

This summary outlines the core arguments and technical data you have submitted to BCAA regarding your insurance claim for the 1,700 sq. ft. rancher at 1517 San Juan Avenue.

### Claim Overview: Structural Moisture & Mold

The claim focuses on active moisture ingress and the emergence of black mold on ceiling joists and wall-to-ceiling junctions. This is not a standard maintenance issue but a systemic failure of the building envelope following a full roof replacement in 2024.

### Technical Non-Conformance (Vendor Liability)

A primary component of the claim is the professional negligence of the BCAA-recommended vendor, Vintage Roofing:

- Manufacturer Violation: The roofer installed SV-50 vents as air intake. This directly contradicts the manufacturer's (Menzies) data sheet and QAI Listing B1024-2, which explicitly states "Do not use as intake vent".

- Unauthorized Scope Change: While the signed quote #203 specified 8-air intake vents, the contractor installed 12 vents without a written change order.

- Failure of Disclosure: The roofer admitted on Dec 23, 2025, that they knew the product was not approved for intake by the manufacturer but proceeded with the installation without briefing you on the risks or warranty implications.

### The "Systemic Vacuum" Effect

The current damage is driven by a physically imbalanced ventilation system:

- Exhaust: 60 feet of Omni Ridge Vent provides approximately 1,080 sq. in. of exhaust.

- Intake: 12 SV-50 vents provide only 600 sq. in. of intake.

- The Result: This massive disparity creates a vacuum that pulls warm, moist air from the living space through ceiling penetrations, trapping moisture under the vapor barrier and causing mold growth.

### Damage Migration & Severity

You have assessed the severity at an 8/10 due to the following:

- Wall Migration: Moisture is currently trapped under the vapor barrier and is suspected of migrating into exterior wall cavities via the wall-to-ceiling connections.

- Hidden Rot: There is a high risk of structural compromise behind the stucco and within wall insulation that cannot be seen from the attic floor.

### Required Remediation (The "Dirty Job")

The claim establishes that a simple repair is insufficient. The proposed scope includes:

- Total Vacuum Removal: Removing all existing insulation to prevent the spread of mold spores during construction.

- Structural Cleaning: Professional antimicrobial treatment of all ceiling joists and wall top plates.

- Envelope Sealing: Comprehensive polyurethane foam sealing of all attic floor penetrations to stop the moisture source.

- Drywall Replacement: Potential full replacement of ceiling and affected wall drywall to ensure a 100% seal of the vapor barrier connections.